### Meridian Building Services

Meridian City Hall, Suite 102

33 E. Broadway Avenue

Meridian, Idaho 83642

Fireplace Inspections – “Process Change”

Commercial Hood & Duct – “Special Inspections Required”

Date: December 26, 2012

Re:  Mechanical & Fireplace Process Change – Effective February 1, 2013

To:  Mechanical Contractors, Hood & Duct Contractors, and Building Contractors

Fireplace Inspections – Process Change

All residential fireplace units require a permit and inspection.  The permit SHALL be pulled by the person/company that is “performing the installation”.  Correction notices, and “pass” stickers will be placed on the fireplace by mechanical inspectors.  The installation must pass inspection BEFORE cover by the builder AND before the Meridian building inspector will “pass” the rough framing inspection. Final inspection stickers for the fireplace will be located on the fireplace.

Separately, correction notices for rough inspection for the residential mechanical permits will be placed on or near the front window of the dwelling.  The mechanical final tag/sticker for the whole house system will be placed on the furnace or water heater, after the fireplace has been inspected and passed.

Commercial Kitchen Hood & Duct – Special Inspections Required

Commercial kitchen grease ducts will require special inspection certification by a third party testing

Agency.  A copy of the inspection report shall be provided to the mechanical inspector at the time of the rough inspection.  Air balance reports are still required prior to the issuance of the Certificate of Occupancy.  It has been determined that inspection of duct fit up, connections and welding involves “testing” to verify code compliance.  Often times this duct work is difficult to access for inspectors and requires testing in a dark environment to verify light passage through welded seams beyond the responsibility scope of the City of Meridian mechanical inspector.